## About
Electric Math
Version 1.2
Welcome to Electric Math General Template
Use the tabs at the bottom to select formula pages.
This is a DEMO VERSION and the math
functions have been disabled

## Amps
HOW TO CALCULATE AMPS
ENTER WATTS |  |  |  |  | User Entry > |  | 1500 |  | WATTS |  | 0 | 0
0
ENTER VOLTS |  |  |  |  | User Entry > |  | 2 |  | VOLTS |  | 0 | 509.44
0
ENTER PHASE ( 1 OR 3 ) |  |  |  |  | User Entry > |  | 3 |  | PHASE |  | 0
0
ENTER POWER FACTOR ( .01-1.00 ) |  |  |  |  | User Entry > |  | 0.85 |  | PF |  | 0
0
ANSWER | [6 empty] | 509.44 |  | AMPS |  | 0 | 509.44
FORMULA |  | Program Generated
AMPS | = | WATTS | ÷ | ( | VOLTS | x | PF | x | 1.732 | )
509.44 | = | 1500 | ÷ | ( | 2 | x | 0.85 | x | 1.732 | )
This is a DEMO VERSION and the math
functions have been disabled

## Volts
HOW TO CALCULATE VOLTS
ENTER WATTS |  |  |  |  | User Entry > |  |  | 120 |  | WATTS |  | 0 | 0
0
ENTER AMPS |  |  |  |  | User Entry > |  |  | 1.25 |  | AMPS |  | 0 | 55
0
ENTER PHASE ( 1 OR 3 ) |  |  |  |  | User Entry > |  |  | 3 |  | PHASE |  | 0
0
ENTER POWER FACTOR ( .01-1.00 ) |  |  |  |  | User Entry > |  |  | 1 |  | PF |  | 0
0
ANSWER | [7 empty] | 55 |  | VOLTS |  | 0 | 55
FORMULA |  | Program Generated
VOLTS | = | WATTS | ÷ | ( | AMPS | ÷ | ( | PF | ÷ | 1.732 | )
55 | = | 120 | ÷ | ( | 1.25 | ÷ | ( | 1 | ÷ | 1.732 | )
This is a DEMO VERSION and the math
functions have been disabled

## Watts
HOW TO CALCULATE WATTS
ENTER VOLTS |  |  |  | User Entry > |  | 120 |  | VOLTS |  | 0 | 0
0
ENTER AMPS |  |  |  | User Entry > |  | 1 |  | AMPS |  | 0 | 207.84
0
ENTER PHASE ( 1 OR 3 ) |  |  |  | User Entry > |  | 3 |  | PHASE |  | 0
0
ENTER POWER FACTOR ( .01-1.00 ) |  |  |  | User Entry > |  | 1 |  | PF |  | 0
0
ANSWER | [5 empty] | 208 |  | WATTS |  | 0 | 207.84
FORMULA |  | Program Generated
WATTS | = | ( VOLTS | x | AMPS | x | PF | x | 1.732 | )
208 | = | 120 | x | 1 | x | 1 | x | 1.732 | )
This is a DEMO VERSION and the math
functions have been disabled

## KW
HOW TO CALCULATE KILOWATTS ( KW )
ENTER VOLTS |  |  |  | User Entry > |  | 120 |  | VOLTS |  | 0 | 0
0
ENTER AMPS |  |  |  | User Entry > |  | 50 |  | AMPS |  | 0 | 10.39
0
ENTER PHASE ( 1 OR 3 ) |  |  |  | User Entry > |  | 3 |  | PHASE |  | 0
0
ENTER POWER FACTOR ( .01-1.00 ) |  |  |  | User Entry > |  | 1 |  | PF |  | 0
0
ANSWER | [5 empty] | 10.39 |  | KW |  | 0 | 10.39
FORMULA |  | Program Generated
KW | = | ( VOLTS | x | AMPS | x | PF | x | 1.732 | ) ÷ 1,000
10.39 | = | 120 | x | 50 | x | 1 | x | 1.732 | ) ÷ 1,000
This is a DEMO VERSION and the math
functions have been disabled

## VA
HOW TO CALCULATE VOLTAMPS ( VA )
ENTER VOLTS |  |  |  | User Entry > |  | 120 |  | VOLTS | 0 | 0
0
ENTER AMPS |  |  |  | User Entry > |  | 2 |  | AMPS | 0 | 415.68
0
ENTER PHASE ( 1 OR 3 ) |  |  |  | User Entry > |  | 3 |  | PHASE | 0
0
ANSWER | [5 empty] | 416 |  | VA | 0 | 415.68
FORMULA |  | Program Generated
VA | = | ( VOLTS | x | AMPS | x | 1.732 | )
416 | = | 120 | x | 2 | x | 1.732 | )
This is a DEMO VERSION and the math
functions have been disabled

## KVA
HOW TO CALCULATE KILOVOLT AMPS ( KVA )
ENTER VOLTS |  |  |  | User Entry > |  | 120 |  | VOLTS | 0 | 0
0
ENTER AMPS |  |  |  | User Entry > |  | 56 |  | AMPS | 0 | 11.64
0
ENTER PHASE ( 1 OR 3 ) |  |  |  | User Entry > |  | 3 |  | PHASE | 0
0
ANSWER | [5 empty] | 11.64 |  | KVA | 0 | 11.64
FORMULA |  | Program Generated
KVA | = | ( VOLTS | x | AMPS | x | 1.732 | ) | ÷ 1,000
11.64 | = | 120 | x | 56 | x | 1.732 | ) | ÷ 1,000
This is a DEMO VERSION and the math
functions have been disabled

## Power Factor
HOW TO CALCULATE POWER FACTOR ( PF )
ENTER WATTS |  |  |  |  | User Entry > |  | 1500 |  | WATTS |  | 0 | 0
0
ENTER VOLTS |  |  |  |  | User Entry > |  | 120 |  | VOLTS |  | 0 | 0.52
0
ENTER PHASE ( 1 OR 3 ) |  |  |  |  | User Entry > |  | 3 |  | PHASE |  | 0
0
ENTER AMPS |  |  |  |  | User Entry > |  | 14 |  | AMPS |  | 0
0
ANSWER | [6 empty] | 0.52 |  | PF |  | 0 | 0.52
FORMULA |  | Program Generated
PF | = | WATTS | ÷ | ( | AMPS | x | VOLTS | x | 1.732 | )
0.52 | = | 1500 | ÷ | ( | 14 | x | 120 | x | 1.732 | )
This is a DEMO VERSION and the math
functions have been disabled

## Voltage Drop
HOW TO CALCULATE VOLTAGE DROP ( VD )
ONE WAY LENGTH OF CIRCUIT ( FEET ) |  |  |  |  | User Entry > |  | 150 |  | FEET |  | 0 | 0
0
CONDUCTOR RESISTANCE IN OHMS |  |  |  |  | User Entry > |  | 3.1 |  | OHMS |  | 0 | 11.48
PER 1000' - NEC CHAPER 9, TABLE 8
0
ENTER PHASE ( 1 OR 3 ) |  |  |  |  | User Entry > |  | 3 |  | PHASE |  | 0
0
ENTER AMPS |  |  |  |  | User Entry > |  | 14.25 |  | AMPS |  | 0
0
ANSWER | [6 empty] | 11.48 |  | VD |  | 0 | 11.48
FORMULA |  | Program Generated
VD | = | ( ( 2 x | LENGTH | x | OHMS | x | AMPS | ) | ÷ 1,000 | ) x 0.866
11.48 | = | ( ( 2 x | 150 | x | 3.1 | x | 14.25 | ) | ÷ 1,000 | ) x 0.866
This is a DEMO VERSION and the math
functions have been disabled